## 8.1
CT6 Testing
Date	20/7/2024
Testing should be performed using the Linux and Windows installers in the installers folder

Linux Test Cases

Test Case	App	Description	Pass
1	ct6_configurator	Install CT6 device	Yes
2	ct6_configurator	Set WiFi config	Yes
3	ct6_configurator	Upgrade CT6 device over WiFi	Yes
4	ct6_configurator	Set CT6 device name	Yes
5	ct6_configurator	Set CT6 device ports	Yes
6	ct6_configurator	Set CT6 device MQTT configuration	Yes
7	ct6_configurator	Set CT6 device active State	Yes
8	ct6_configurator	Scan for CT6 devices	Yes
9	ct6_configurator	Reboot a CT6 device remotely	Yes
10	N/A	Windows Defender anti virus scan of repo	Yes

Windows Test Cases

11	ct6_configurator	Install CT6 device	Yes
12	ct6_configurator	Set WiFi config	Yes
13	ct6_configurator	Upgrade CT6 device over WiFi	Yes
14	ct6_configurator	Set CT6 device name	Yes
15	ct6_configurator	Set CT6 device ports	Yes
16	ct6_configurator	Set CT6 device MQTT configuration	Yes
17	ct6_configurator	Set CT6 device active State	Yes
18	ct6_configurator	Scan for CT6 devices	Yes
19	ct6_configurator	Reboot a CT6 device remotely	Yes

## V7.9
CT6 Testing
Date	20/7/2024
Testing should be performed using the Linux and Windows installers in the installers folder

Linux Test Cases

Test Case	App	Description	Pass
1	ct6_configurator	Install CT6 device	Yes
2	ct6_configurator	Set WiFi config	Yes
3	ct6_configurator	Upgrade CT6 device over WiFi	Yes
4	ct6_configurator	Set CT6 device name	Yes
5	ct6_configurator	Set CT6 device ports	Yes
6	ct6_configurator	Set CT6 device MQTT configuration	Yes
7	ct6_configurator	Set CT6 device active State	Yes
8	ct6_configurator	Scan for CT6 devices	Yes
9	ct6_configurator	Reboot a CT6 device remotely	Yes
10	N/A	Windows Defender anti virus scan of repo	Yes

Windows Test Cases

11	ct6_configurator	Install CT6 device	Yes
12	ct6_configurator	Set WiFi config	Yes
13	ct6_configurator	Upgrade CT6 device over WiFi	Yes
14	ct6_configurator	Set CT6 device name	Yes
15	ct6_configurator	Set CT6 device ports	Yes
16	ct6_configurator	Set CT6 device MQTT configuration	Yes
17	ct6_configurator	Set CT6 device active State	Yes
18	ct6_configurator	Scan for CT6 devices	Yes
19	ct6_configurator	Reboot a CT6 device remotely	Yes

## V7.8
CT6 Testing
Date	07/07/24
Testing should be performed using the Linux and Windows installers in the installers folder

Linux Test Cases

Test Case	App	Description	Pass	Notes
1	ct6_configurator	Install CT6 device	Yes
2	ct6_configurator	Set WiFi config	Yes
3	ct6_configurator	Upgrade CT6 device over WiFi	Yes
4	ct6_configurator	Set CT6 device name	Yes
5	ct6_configurator	Set CT6 device ports	Yes
6	ct6_configurator	Set CT6 device MQTT configuration	Yes
7	ct6_configurator	Set CT6 device active State	Yes
8	ct6_configurator	Scan for CT6 devices	Yes
9	ct6_configurator	Reboot a CT6 device remotely	Yes
10	ct6_configurator	Calibrate voltage measurement	Yes	It would be useful if the user had a notification message (similar to current measurements) when the calibration was complete.
11	ct6_configurator	Calibrate port 1 current measurement	Yes
12	ct6_configurator	Calibrate port 2 current measurement	Yes
13	ct6_configurator	Calibrate port 3 current measurement	Yes
14	ct6_configurator	Calibrate port 4 current measurement	Yes
15	ct6_configurator	Calibrate port 5 current measurement	Yes
16	ct6_configurator	Calibrate port 6 current measurement	Yes

Windows Test Cases

17	ct6_configurator	Install CT6 device	Yes
18	ct6_configurator	Set WiFi config	Yes
19	ct6_configurator	Upgrade CT6 device over WiFi	Yes
20	ct6_configurator	Set CT6 device name	Yes
21	ct6_configurator	Set CT6 device ports	Yes
22	ct6_configurator	Set CT6 device MQTT configuration	Yes
23	ct6_configurator	Set CT6 device active State	Yes
24	ct6_configurator	Scan for CT6 devices	Yes
25	ct6_configurator	Reboot a CT6 device remotely	Yes
26	ct6_configurator	Calibrate voltage measurement	Yes
27	ct6_configurator	Calibrate port 1 current measurement	Yes
28	ct6_configurator	Calibrate port 2 current measurement	Yes
29	ct6_configurator	Calibrate port 3 current measurement	Yes
30	ct6_configurator	Calibrate port 4 current measurement	Yes
31	ct6_configurator	Calibrate port 5 current measurement	Yes
32	ct6_configurator	Calibrate port 6 current measurement	Yes

## V7.7
Linux Test Cases

Test Case	App	Description	Pass
1	ct6_configurator	Startup ct6_configurator with no ~/.ssh/id_rsa file present.	Yes

Windows Test Cases

Test Case	App	Description	Pass
1	ct6_configurator	Startup ct6_configurator with no ~/.ssh/id_rsa file present.	Yes
2	ct6_configurator	Set WiFi config	Yes
3	ct6_configurator	Upgrade CT6 device over WiFi	Yes
4	ct6_configurator	Set CT6 device name	Yes
5	ct6_configurator	Set CT6 device ports	Yes
6	ct6_configurator	Set CT6 device MQTT configuration	Yes
7	ct6_configurator	Set CT6 device active State	Yes

## V7.5
CT6 Testing
Date	06/10/24
Testing is performed using the Linux and Windows installers in the installers folder

Linux Test Cases

Test Case	App	Description	Pass	Notes
1	ct6_configurator	Install CT6 device	Yes
2	ct6_configurator	Set WiFi config	Yes
3	ct6_configurator	Upgrade CT6 device over WiFi	Yes
4	ct6_configurator	Set CT6 device name	Yes
5	ct6_configurator	Set CT6 device ports	Yes
6	ct6_configurator	Set CT6 device MQTT configuration	Yes
7	ct6_configurator	Set CT6 device active State	Yes
8	ct6_configurator	Check MQTT message are received by MQTT server	Yes
8	ct6_configurator	Scan for CT6 devies on LAN	Yes
9	ct6_configurator	Using Scan TAB power cycle a CT6 device.	Yes
10	ct6_db_store	Command line configuration	Yes
11	ct6_db_store	Check running instance updates database	Yes
12	ct6_dash	Command line configuration	Yes
13	ct6_dash	Check GUI starts and shows database data	Yes
14	ct6_configurator	Check that the voltage calibration works	Yes

Windows Test Cases

12	ct6_configurator	Install CT6 device	Yes
13	ct6_configurator	Set WiFi config	Yes
14	ct6_configurator	Upgrade CT6 device over WiFi	Yes
15	ct6_configurator	Set CT6 device name	Yes
16	ct6_configurator	Set CT6 device ports	Yes
17	ct6_configurator	Set CT6 device MQTT configuration	Yes
18	ct6_configurator	Set CT6 device active State	Yes
19	ct6_configurator	Scan for CT6 devies on LAN	Yes
20	ct6_configurator	Using Scan TAB power cycle a CT6 device.	Yes
21	ct6_db_store	Command line configuration	Yes
22	ct6_db_store	Check running instance updates database	Yes
23	ct6_dash	Command line configuration	Yes
24	ct6_dash	Check GUI starts and shows database data	Yes
25	ct6_configurator	Check that the voltage calibration works	Yes

## V7.4
CT6 Testing
Date	06/09/24
Testing should be performed using the Linux and Windows installers in the installers folder

Linux Test Cases

Test Case	App	Description	Pass	Notes
1	ct6_configurator	Install CT6 device	Yes	No log files created. Add to TODO list to ensure logs are created when action executed.
2	ct6_configurator	Set WiFi config	Yes
3	ct6_configurator	Upgrade CT6 device over WiFi	Yes
4	ct6_configurator	Set CT6 device name	Yes
5	ct6_configurator	Set CT6 device ports	Yes
6	ct6_configurator	Set CT6 device MQTT configuration	Yes
7	ct6_configurator	Set CT6 device active State	Yes
8	ct6_db_store	Command line configuration	Yes
9	ct6_db_store	Check running instance updates database	Yes	Memory usage reported via an info message. Should be a debug level message. Add to TODO list.
10	ct6_dash	Command line configuration	Yes
11	ct6_dash	Check GUI starts and shows database data	Yes

Windows Test Cases

12	ct6_configurator	Install CT6 device	Yes
13	ct6_configurator	Set WiFi config	Yes
14	ct6_configurator	Upgrade CT6 device over WiFi	Yes
15	ct6_configurator	Set CT6 device name	Yes
16	ct6_configurator	Set CT6 device ports	Yes
17	ct6_configurator	Set CT6 device MQTT configuration	Yes
18	ct6_configurator	Set CT6 device active State	Yes
19	ct6_db_store	Command line configuration	Yes
20	ct6_db_store	Check running instance updates database	Yes
21	ct6_dash	Command line configuration	Yes
22	ct6_dash	Check GUI starts and shows database data	Yes